## Slide 1: Electrocorticography-Based Brain Computer Interface – The Seattle Experience

## Slide 2: Rough Comparison
 | EEG | ECoG | Implanted Arrays
Invasiveness | Low | Medium | High
EMG Noise | High | Medium | Low
Risk | Low | Medium | High
Stability | High | Medium | Low
Spatial Resolution | 1 cm | 0.01 cm | 0.001 cm
Price | $100s | gazillion? | buzillion?

## Slide 3: Task
Control vertical position of cursor to hit the target
Horizontal
Speed
= 1 screen width
/ 5.5 seconds

## Slide 4: Task Interface
Decoder
Input (1,000 Hz):
- 64 ECoG electrodes
Human User
Output (25 Hz):
“up” or “down”
magnitude
Visual feedback

## Slide 5: System Overview
ECoG electrode placement
Decoding
Learning (Model)
Experiment

## Slide 6: ECoG Placement

## Slide 7: Decoding
For each user U and user action A
  Feature functions f(x)
  Feature weights w
Output is linear combination of feature functions
How to choose features?
How to weight features?

## Slide 8: Feature Selection
Rest state
Action state

## Slide 9: Feature Selection + Learning
Training data = <signal, action state> pairs
  Signal = input from electrodes
  Action state = “performing action” or “not”
Possible features = amplitude of
  {electrode1, electrode2, …} x {freq1, freq2, …}
Rank features using autoregressive model
Choose top K
Weights from autoregressive model (?)

## Slide 10: Experiment
Offline training to learn features, weights
Online development testing
Online feature, weight adjustment
Final round of testing

## Slide 11: Interesting Observation
Offline (no feedback) looks different than online (with feedback)

## Slide 12: Results

## Slide 13: Results (from related paper)

## Slide 14: Conclusions
Users can control a 1d cursor with ECoG
Closed loop looks different than “open loop”
Experimenting with epilepsy patients is hard