## Slide 1: Task Support
Lecture 21: CSE 490c

## Slide 2: Announcements
No class Wednesday, November 21

## Slide 3: Topics
ODK Sensors
eIMCI
Mobile Videos
Diagnostics

## Slide 4: ODK Sensors
Build a user-level sensing framework with sensor drivers
  No operating system modifications
  Allows convenient reuse between applications
Create a single sensor interface
  Access wired, wireless, and built-in sensors
  Support multiple sensors over multiple channels
Focus on ease of deployment and development
  Distribution through existing app store model
  Reduce complexity
  Without adverse effects on performance

## Slide 5: Fone Astra
Sensor connection to low cost phone
  Phone for communication and output
$25 board + $25 phone
Temperature monitoring

## Slide 6: Android Fone Astra
Version 2 of FoneAstra replaced basic phone with Android phone
Communication by bluetooth or USB
Separate power for FoneAstra device
Programmability and UI on phone

## Slide 7: Milk Pasteurization
Human milk pasteurization
Replace high price pasteurizer with hotplate
Temperature monitoring to ensure proper heating and verify quality

## Slide 8: Cold Trace
Remote temperature monitoring
Connection through audio port to Android phone
Deployments now rely on a single model of low cost Android phone
Well engineered product with substantial support
Need for multi sensor device

## Slide 9: Cold Trace V5

## Slide 10: IMCI
WHO Designed protocol on diagnosing/treating childhood illness
Step through diseases with flow chart
Target nurses/health workers
Standardize care

## Slide 11: IMCI

## Slide 12: Tanzania e-IMCI Study
Implement IMCI on a PDA, c. 2007
Goal:
  Demonstrate improved compliance to IMCI protocol
  No increase in time of visits

## Slide 13: Open Data Kit
Collect
  Forms based data collection application running on Android device
XLSForm
  Form creation tool reading in Excel spreadsheet
Aggregate
  Backend server to receive data

## Slide 14: IMCI to ODK
Convert IMCI Protocol to decision tree
Encode in forms
Establish branching logic
Implement in spreadsheet
  Compile to ODK
Challenges
  Extracting the decision tree
  Verification of wording and workflow
  Usability
Medical review of IMCI
  Difficulty in adapting protocol
  Official approval of protocol
  Determining correspondence of electronic and paper version

## Slide 15: IMCI + Pulse Oximetry
Measure blood oxygen level
Low oxygen levels can indicate pneumonia
Add blood oxygen level into pneumonia questions
Pulse oximeter connected to mobile phone so readings entered automatically

## Slide 16: Mobile video for patient education: The midwives’ perspective

## Slide 17: Overview
Study of Nurse Midwife reaction to using mobile videos to support patient education
Based on a one year project conducted in Udaipur, India
Key contribution
  Focus on the acceptability of a mobile device to help a midwife’s work

## Slide 18: Sustainability
Technical feasibility: the device must work reliably in the field.
Usability: the target users must be able to operate the device.
Acceptability: the users must be willing to use the device in the course of their work.
Maintainability: it must be possible to keep the devices running at low cost.
Affordability: the total cost of the system must be low enough that the health system can pay for it and sees commensurate value.

## Slide 19: Acceptability
In order for a technology to be adopted, it must provide perceived value to those that are expected to use it

## Slide 20: ARTH, Udaipur India
Action Research and Training for Health
Two maternal health clinics for a population of 64,000
Clinic and outreach services by two doctors and eight nurse midwives
Post Natal Care (PNC) visits using ARTH protocol
  Two visits
  In clinic or home

## Slide 21: Mobile Midwife Platform
Mobile data collection to support PNC visits
  Data collection
  Protocol support
Open Data Kit application
Android phones deployed with nurse midwives

## Slide 22: Health videos
Three videos created
  Maternal nutrition
  Breast feeding
  Thermal care
Videos shown during PNC
  Launched from ODK form at specific points in visit
Nurse midwives were already expected to address these topics

## Slide 23: Mobile device use
 | Nutrition | Breast-feeding | Thermal care | Total
Video played entirely | 554 (77.1 %) | 497 (77.7 %) | 288 (62.5 %) | 1339 (73.4 %)
Video partially played | 46 (6.4 %) | 52 (8.1 %) | 26 (5.6 %) | 124 (6.8 %)
Video stopped | 110 (15.3 %) | 89 (13.9 %) | 146 (32.7 %) | 345 (19.0 %)
Video play extended | 9 (1.2 %) | 2 (0.3 %) | 1 (0.2 %) | 12 (0.7 %)
One year pilot for data collection and visit support
Nurse midwives had difficulty with data collection and continued to use paper forms
Device logging showed that the videos were shown regularly
Midwives identified video the most successful component of the project

## Slide 24: Study methodology for evaluating video
Ethnographic observations of 22 PNC visits
Semi-structured interviews with the 8 nurse midwives
Iterative coding scheme of qualitative data using Atlas.ti
Triangulation with quantitative data from deployment

## Slide 25: Summary of results
The use of video is feasible in PNC visits
The PNC environment is complicated
  Patient education occurs throughout visits with various levels of effort
  Multiple settings and participants
Authority and trust
  Nurses viewed video as being authoritative and enhancing their communication

## Slide 26: Feasibility
Video used consistently on PNC visits
Midwives reported a favorable reaction and identified this as the best feature of the mobile device
Minor difficulties in using videos in the mobile app
“The video that we show is very good – it becomes very easy for the people to understand. There is a big difference between telling something and showing it. On watching the video people understand that yes, this is how it is to be done.”

## Slide 27: Complexity
Multiple people might be present for home and clinic PNCs
Process of doing an examination did not fully align with the protocol on the device
Introduction of videos made educational component more explicit
“When we do PNC before, only the patient and I are present . . . Now I am showing the video, now others too come on hearing the sound from the video, so they too remember that yes, we have to do this, so more people come inside, we tell the patient, and everyone hears.”

## Slide 28: Multitasking
Nurses used time while video played for other activities
Multiple ways of showing the video
Video was rarely stopped for discussion
Time for playing the video was an issue
“[The good thing about the video] is that the video explains how to feed the baby and gives advice, so we don’t have to talk much. So while they watch the video, we can continue with our work”

## Slide 29: Authority
Videos extended nurses ability to deliver complete messages
Some nurses felt that by featuring older nurses the videos had additional authority
No conflicts with the video messaging
“We explained that this too is showing how to feed the baby, the things that you should eat, is it necessary for you to have the tablets or not. We are telling you through the mobile. It is just like the nurse used to tell you. You should take it the same way. We show the video and they feel it is right”

## Slide 30: Trust
Video considered to be trustworthy
Nurses had a theory that people understand by seeing
Advantages identified: clarity of message, use of local language, and local participants
“What will the mother think? She thinks the video is correct. A movie has been made, so it is right because there is a lady in it, a patient and a nurse, so she understands. . . She understands on seeing the patient. If there had been only two nurses, she wouldn’t have understood”

## Slide 31
Action Research and Training for Health

## Slide 32: Diagnostics
Issues
  Cost of test
  Precision of test
  Accuracy of test
    Error profile
  Action on positive test
  Action on negative test
  Goals
    Individual treatment
    Public health goals
True Positive
False Negative
False Positive
True Negative
Negative Test
Positive Test
Have disease
Don’t have disease

## Slide 33: Lab Diagnostics
Highly accurate tests
  E.g., Enzyme-linked immunosorbent assay (ELISA)
  Microscopy
Requires infrastructure, trained staff, equipment
Issues
  Costs
  Transport of samples
  Delays in processing or notification

## Slide 34: Lab Information System
Internal lab management
Tracking of samples and tests
Interoperability with medical records
Notifications
Probably not much difference between developed and developing world

## Slide 35: Rapid Diagnostic Tests
Point of Care Tests
  Deliver results without sending test to lab
  Fast turn around
  Limited test preparation
Lateral flow immunochromatographic assays
Large number of tests available
  Blood, Urine
  HIV, Malaria, Syphilis

## Slide 36: ODK Diagnostics
Image analysis on SmartPhone to read RDT
  Computation done locally
  Template to adapt to multiple tests
Use cases
  Enable lesser trained health workers to conduct tests
  Support tests which are not frequently used
  Supervision
  Quality control
Field trials
  Zimbabwe